## Asset Category
* = Mandatory fields
This template is required if property asset is required to maintain for FM servicing. Separate template need to be provided for each property in the system
The unique ID assigned to the property. ID must be the same as the value in "Import Property" template | The unique asset category ID. | Used to form parent and child relationship for the asset category E.g. ACMV -> AHU -> Chiller | Indicator to denote if the asset category is active in system.
Property ID [20]* | Asset Category [300]* | Parent Asset Category [300] | Active (Y/N) [1]
| ACMV System |  | Y
| AC - Split Unit | ACMV System | Y
| Air Curtain System | ACMV System | Y
| Air Handling Unit | ACMV System | Y
| Aircon Duct Cleaning | ACMV System | Y
| Chiller System | ACMV System | Y
| Automatic Condenser Tube Cleaning System | Chiller System | Y
| Chiller | Chiller System | Y
| Condenser Water Pump | Chiller System | Y
| Cooling Tower Make-Up Tank | Chiller System | Y
| Cooling Towers | Chiller System | Y
| Expansion Tank | Chiller System | Y
| Heat Exchanger | Chiller System | Y
| Nalco 3D Traser Chemical Dosing Pump System | Chiller System | Y
| Primary Chilled Water Pump | Chiller System | Y
| Secondary Chilled Water Pump | Chiller System | Y
| Trane EMS System | Chiller System | Y
| Water-Cooled Chiller | Chiller System | Y
| CO Monitoring System | ACMV System | Y
| Compressor Air System | ACMV System | Y
| Fan Coil Unit | ACMV System | Y
| FAV System | ACMV System | Y
| FCU / LCP | ACMV System | Y
| Mechanical Ventilation System (MVS) | ACMV System | Y
| Exhaust Fan | Mechanical Ventilation System (MVS) | Y
| Fresh Air Fan | Mechanical Ventilation System (MVS) | Y
| Faircon System | Mechanical Ventilation System (MVS) | Y
| Kitchen Exhaust Fan | Mechanical Ventilation System (MVS) | Y
| Staircase Pressurisation Fan | Mechanical Ventilation System (MVS) | Y
| Supply Fan | Mechanical Ventilation System (MVS) | Y
| Toilet Exhaust Fan | Mechanical Ventilation System (MVS) | Y
| Motorised Damper | ACMV System | Y
| Pre-Cooled Air Handling Unit | ACMV System | Y
| Civil & Building |  | Y
| BAS | Civil & Building | Y
| Black-Out Screens | Civil & Building | Y
| Building Management System | Civil & Building | Y
| Car Park | Civil & Building | Y
| Car Transponder System | Civil & Building | Y
| Card Access System | Civil & Building | Y
| Carpark Barrier System | Civil & Building | Y
| Central Gas Heater System | Civil & Building | Y
| Door/Gate | Civil & Building | Y
| Auto Sliding Gate | Door/Gate | Y
| Autodoor | Door/Gate | Y
| Sliding Glass Door | Door/Gate | Y
| Hoist | Civil & Building | Y
| Intercom | Civil & Building | Y
| Lightning Protection System | Civil & Building | Y
| Lighting - Led | Lightning Protection System | Y
| Lightning Conductors | Lightning Protection System | Y
| Mobile Base Station | Civil & Building | Y
| Overhead Crane | Civil & Building | Y
| Photovoltaic System (Solar Panel) | Civil & Building | Y
| Public Address (PA) System | Civil & Building | Y
| Radiation Protection | Civil & Building | Y
| Turnstile | Civil & Building | Y
| Utility | Civil & Building | Y
| Electrical Meter | Utility | Y
| Water Meter | Utility | Y
| Electrical System |  | Y
| Controller Box | Electrical System | Y
| Electrical Accessories | Electrical System | Y
| Electronic Equipment | Electrical System | Y
| Emergency Battery Operating Power System (EBOPS) | Electrical System | Y
| Lighting Fittings/Fixtures | Electrical System | Y
| Generator | Electrical System | Y
| Main Generator | Generator | Y
| Main Standby Generator | Generator | Y
| Standby Generator | Generator | Y
| Switch Gear For Generator | Generator | Y
| LT Boards | Electrical System | Y
| SBE/SSBE/DB/DBE | Electrical System | Y
| Distribution Board (DB) | SBE/SSBE/DB/DBE | Y
| DBE | SBE/SSBE/DB/DBE | Y
| Emergency Sub-Boards (SBE) | SBE/SSBE/DB/DBE | Y
| Sub Board (SB) | SBE/SSBE/DB/DBE | Y
| SSBE | SBE/SSBE/DB/DBE | Y
| Power Pack | SSBE | Y
| UPS System | SSBE | Y
| Other Electrical System | SSBE | Y
| Facilities |  | Y
| Automobile | Facilities | Y
| Audio Visual | Facilities | Y
| Audio Visual System | Facilities | Y
| Aqua Gym | Facilities | Y
| Bathhouse | Facilities | Y
| Bbq Equipment | Facilities | Y
| Chairs/Tables | Facilities | Y
| Coaches | Facilities | Y
| Education Centres | Facilities | Y
| Entertainment Equipment | Facilities | Y
| Fleet Vehicle | Facilities | Y
| Function/Meeting Room | Facilities | Y
| Gym | Facilities | Y
| Hair Salon | Facilities | Y
| Jacuzzi | Facilities | Y
| Kitchen Equipment | Facilities | Y
| Lift/Escalator | Facilities | Y
| Bank Lift | Lift/Escalator | Y
| Cargo Lift | Lift/Escalator | Y
| Carpark Lift | Lift/Escalator | Y
| Escalator | Lift/Escalator | Y
| Passenger Lift (Double Deck) | Lift/Escalator | Y
| Passenger Lift (Single Deck) | Lift/Escalator | Y
| Tower Club Lift | Lift/Escalator | Y
| VIP Lift | Lift/Escalator | Y
| Laundry Lift | Lift/Escalator | Y
| Karaoke System | Facilities | Y
| Playground | Facilities | Y
| Pool Furniture | Facilities | Y
| Pool / Pond | Facilities | Y
| Children Pool | Pool / Pond | Y
| Fish Pond | Pool / Pond | Y
| Gym Pool | Pool / Pond | Y
| Jacuzzi Pool | Pool / Pond | Y
| Spa Pool | Pool / Pond | Y
| Splash Pool | Pool / Pond | Y
| Swimming Pool | Pool / Pond | Y
| Waterplay Pool | Pool / Pond | Y
| Sauna | Facilities | Y
| Signages | Facilities | Y
| Swimming Pool Accessories | Facilities | Y
| Water Lounges | Swimming Pool Accessories | Y
| Tennis Court | Facilities | Y
| Toilet Amenities | Facilities | Y
| Toilets / Washrooms | Facilities | Y
| Water Features | Facilities | Y
| Water Feature Wall | Water Features | Y
| Garden Water Feature | Water Features | Y
| Pond Water Feature | Water Features | Y
| Reflective Water Feature | Water Features | Y
| Sunken Water Cove | Water Features | Y
| Fire Protection System |  | Y
| Alarm Gong | Fire Protection System | Y
| Alarm System | Fire Protection System | Y
| Automatic Fire Alarm System | Fire Protection System | Y
| Smoke Detector | Automatic Fire Alarm System | Y
| Graphic Workstation | Automatic Fire Alarm System | Y
| Fire Storage Tank | Automatic Fire Alarm System | Y
| HR Pump | Automatic Fire Alarm System | Y
| Sprinkler Jockey | Automatic Fire Alarm System | Y
| Sprinkler Pump | Automatic Fire Alarm System | Y
| Sprinkler Transfer Pump | Automatic Fire Alarm System | Y
| Wet Riser Jockey Pump | Automatic Fire Alarm System | Y
| Wet Riser Pump | Automatic Fire Alarm System | Y
| Dry Riser | Fire Protection System | Y
| Fire Alarm System | Fire Protection System | Y
| Fire Extinguisher | Fire Protection System | Y
| Fire Protection Equipment | Fire Protection System | Y
| Fireman Intercom | Fire Protection System | Y
| Hosereel | Fire Protection System | Y
| Hosereel System | Fire Protection System | Y
| Horticulture & Landscape |  | Y
| M&E System |  | Y
| M&E Equipment | M&E System | Y
| MATV System | M&E System | Y
| Miscellaneous |  | Y
| Awnings | Miscellaneous | Y
| Canvas For Lifts | Miscellaneous | Y
| Corporate Gifts | Miscellaneous | Y
| Curtains | Miscellaneous | Y
| First Aid / Medical Equipment | Miscellaneous | Y
| Hot Water Dispenser | Miscellaneous | Y
| Internet | Miscellaneous | Y
| Liquor | Miscellaneous | Y
| Noticeboard | Miscellaneous | Y
| Office Equipment | Miscellaneous | Y
| Computer | Office Equipment | Y
| Internet / Router | Office Equipment | Y
| Printer | Office Equipment | Y
| Queue Management System | Office Equipment | Y
| Signage | Office Equipment | Y
| Stationery / Equipment | Office Equipment | Y
| Telephone System | Office Equipment | Y
| Signboard / Wheelclamp | Miscellaneous | Y
| Sunscreen / Sunshade | Miscellaneous | Y
| Televideo Conferencing System | Miscellaneous | Y
| Uniform | Miscellaneous | Y
| Vending Machine | Miscellaneous | Y
| Plumbing & Sanitary System |  | Y
| Auto Flush Sensor | Plumbing & Sanitary System | Y
| Bins | Plumbing & Sanitary System | Y
| Cleaning Chemicals | Plumbing & Sanitary System | Y
| Domestic System | Plumbing & Sanitary System | Y
| Domestic Water Booster Pump With Pressure Tank | Plumbing & Sanitary System | Y
| Domestic Water Storage Tank | Plumbing & Sanitary System | Y
| Domestic Water Transfer Pump | Plumbing & Sanitary System | Y
| Ejector/Sump Pump | Plumbing & Sanitary System | Y
| Grease System | Plumbing & Sanitary System | Y
| Newater Pump For Cooling Tower Make-Up Tank | Plumbing & Sanitary System | Y
| Plumbing Fixture | Plumbing & Sanitary System | Y
| Pump System | Plumbing & Sanitary System | Y
| Pumps | Plumbing & Sanitary System | Y
| Water Tank | Plumbing & Sanitary System | Y
| Washroom Products | Plumbing & Sanitary System | Y
| Security System |  | Y
| Automated External Defibrillator (AED) | Security System | Y
| CATV System | Security System | Y
| CCTV Camera | Security System | Y
| CCTV Digital Video Recorder | Security System | Y
| CCTV Monitor | Security System | Y
| Guard Tour System | Security System | Y
| Panic Button | Security System | Y
| Security Door System | Security System | Y
| Security Equipment | Security System | Y
| Security Metal Detector | Security System | Y
| Security Services | Security System | Y
| Security X-Ray Machine | Security System | Y
| Video Intercom System | Security System | Y
| Walkie Talkie | Security System | Y